## Лист1
№ | Criteria | Yes/No | Comment
Lighting
1 | Are the lighting devices equipped with LED lighting elements?
1.1 | If there are no LED lighting elements, specify which ones.
2 | Lighting control in some rooms is carried out by light sensors?
2.1 | Specify the categories of premises where there is such management.
3 | Lighting control in some rooms is carried out by presence sensors?
3.1 | Specify the categories of premises where there is such management.
4 | Is lighting control in some rooms carried out according to a schedule?
4.1 | If yes, specify in which rooms and how exactly the management is carried out.
5 | Is the lighting control divided into a zone along the windows and inside the building?
5.1 | If yes, specify in which rooms and how the management is carried out.
6 | Outdoor lighting, facade - is there any control - according to the schedule, light sensors, other?
6.1 | If yes, specify how and what kind of lighting is controlled this way.
Metering devices?
Heating system
1 | Heating control is possible according to the installed programs
1.1 | If yes, describe the current management program
2 | Heating devices can be adjusted separately
2.1 | If yes, describe how many heating devices are controlled separately
Metering devices? Additional Individual heat point management? Pump control?
Air conditioning system
1 | Air conditioning control is possible according to the established programs
1.1 | If yes, describe the current management program
2 | The air conditioning elements in different parts of the building can be adjusted separately
2.1 | If yes, describe how many air conditioning devices are controlled separately
Metering devices?
Cold water supply and hot water supply pumps
1 | Is there a demand response system in the HVAC and DHW system?
1.1 | If yes, then specify the algorithm
Metering devices?
Ventilation
1 | Does the ventilation system have the ability to automatically change the air supply depending on the need?
1.1 | If yes, then specify the algorithm
2 | Is the ventilation system controlled according to a schedule?
2.1 | If yes, specify the schedule
3 | Can ventilation units change the volume of supplied air?
3.1 | If yes, please indicate how this is achieved
Metering devices?